## Cover
C O M P U T E C A P I T A L S T A C K
Scenario Analysis ¦ Power Envelope ¦ Compute Forecasting ¦ Monte Carlo ¦ N-SMR Procurement ¦ Portfolio Optimization
Inference economics through power, site, contract, and procurement gates.
Analyst: | Darrell Day
Report Date: | 2026-07-07
Model Version: | 5
Active Scenario:
Key Results
Recommended structure
Risk-adjusted cost of intelligence
Mix-savings NPV vs all-residual, FY26-40 |  | Legend
Reactors required by FY2040 (N-SMR) |  | Assumptions
Probability the stack is underwater |  | Linked from another tab
The minimax buy |  | Calculations
Breach; Alert
External figures carry cell-level citations on the Sources tab.
Public model copy. Full workbook, formulas, checks, and notebook links are available from the live model page.

## Summary
Compute Capital Stack
The active scenario selects the demand path, power mix, procurement carry, and decision trigger.
Scenario | Base
A capped portfolio beats a single winner
Deliverable portfolio saves vs all-residual, NPV FY26-40
Residual utilization the caps leave in the mix, FY2034
Deliverability premium in the stated mix (NPV)
N-SMR units required by FY2040 (stated mix)
Probability the stack is underwater (MC)
Capped sources fill first, and residual grid-blended capacity reprices with utilization. The deliverability premium is the budget for raising caps; in Bear, it becomes the hedge value of the power position.
Deliverability turns megawatts into capacity
Realized queue conversion
ERCOT approved-to-energize
CoreWeave contracted, not powered (MW)
Talen carry, cumulative FY2042 ($M)
PJM capacity-rate escalation
Cost of intelligence
Scenario revenue ($/MTok)
Cost of intelligence ($/MTok)
Operating margin ($/MTok)
DSCR
Breakeven utilization
Anthropic load, FY2030 (GW)
Anthropic load, FY2040 (GW)
Blended power, FY2030 ($/MWh)
Dashboard
Return on the compute envelope, FY2026 (×)
Committed over the top of the cone, FY2030
Uncovered at the top of the cone, FY2030 (GW)
All-in capex of the FY2030 Base load ($B)
Over the stated commitment (×)
Risk-adjusted discount rate
The minimax buy
N-SMR all-in delivered, FY2034 ($/MWh)
Portfolio blended cost, FY2034 ($/MWh)
Cheapest marginal source, FY2026 (context only)

## Portfolio
Portfolio
Capacity fills by merit order, but availability caps decide how much each source can actually deliver each year.
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Deliverable capacity by source
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Direct PPA, validated transfer (GW cap) | [18 empty] | Caps are stated deliverability judgments at stage; no cap is a contract. Measured capacity, power, and N-SMR series bound them, and the residual is finite and reprices with utilization.
Stranded/curtailed capture (GW cap)
N-SMR fleet (GW cap)
Residual grid-blended capacity (GW cap)
Demand, serving load (GW)
Merit order under the caps
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Direct PPA, effective ($/MWh)
Stranded/curtailed, effective ($/MWh)
N-SMR all-in, effective ($/MWh)
Residual grid-blended capacity, effective ($/MWh)
First slot price ($/MWh)
Second slot price ($/MWh)
Third slot price ($/MWh)
Fourth slot price ($/MWh)
First slot allocated (GW)
Second slot allocated (GW)
Third slot allocated (GW)
Fourth slot allocated (GW)
PPA leg takes (GW)
Stranded-capture takes (GW)
N-SMR takes (GW)
Grid-blended residual takes (GW)
Portfolio blended cost ($/MWh) | [18 empty] | Cheapest deliverable capacity fills first until its cap binds. Residual grid-blended capacity is finite; any load above all deliverable caps is unmet.
Residual utilization
Unmet demand (GW)
Development-stage share (stranded + N-SMR)
Portfolio value
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Portfolio power cost ($B)
Savings vs all-residual ($B)
Savings vs the stated policy mix ($B)
NPV of portfolio savings vs all-residual, FY2026-FY2040
Deliverability premium embedded in the stated mix (NPV) | [18 empty] | The stated mix books savings from gigawatts the caps cannot deliver; this value is the budget for raising validated-site throughput and N-SMR fleet rate.
Deliverability the stated mix assumes beyond the caps, FY2030 (GW) | [18 empty] | Gigawatts the stated shares promise beyond what any cap can deliver.
Frontier candidates | bar: FY'23 to FY'27
Candidate | FY'24: NPV cost FY26-40 ($B); FY'25: Blended FY2034 ($/MWh); FY'26: Dev-stage share FY2030; FY'27: NPV savings ($B)
All residual grid-blended | FY'26: 0%; FY'27: 0
Stated policy mix
Cap-constrained merit order
The FY2030 trade is deliverability: residual-grid capacity carries an immediate-availability premium, while cheaper sources carry development-stage or construction-stage risk.

## Envelope
Envelope Return
Revenue must cover serving load, the training floor, internal acceleration, and the capital tied up before useful capacity arrives.
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Allocation starts with the training floor
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Serving energy (TWh) | [18 empty] | Serving demand is priced first; the training floor and internal share gross it up to the full compute envelope.
Total envelope (TWh)
Training floor (TWh)
Internal acceleration (TWh)
Envelope load (GW)
Envelope return
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Envelope tokens (B MTok)
Envelope cost ($B) | [18 empty] | Each bucket is priced at the serving stack because the training floor still consumes scarce capacity.
Revenue run-rate ($B)
Internal share at opportunity cost ($B) | [18 empty] | This line shows the revenue the internal share could otherwise serve: an opportunity-cost view. No customer is charged this amount.
Envelope ROI (×) | [18 empty] | A sub-1x return reflects allocation choices as well as economics; the serving-only line isolates that effect.
Serving-only ROI (×)
KPIs | bar: FY'23 to FY'27
1. Compute-envelope return, FY2026 (×) | [18 empty] | Revenue is compared with the full compute envelope, including training and internal allocation.
Shape of the return: FY2030 (×) | [18 empty] | The shape matters as much as the level. A flat or rising path funds the next training run.
2. Customer ROI: net dollar retention, annualized | [18 empty] | Customers deploying at scale and expanding; this cohort behavior drives the demand cone.
Fortune 10 customers (count)
3. Future access: committed over the top of the cone, FY2030 | [18 empty] | External buying balanced against the demand the cone says could arrive.
Uncovered at the top of the cone, FY2030 (GW) | [18 empty] | The procurement decision, stated as a gap.

## Cone
Cone vs Commitments
The cone compares demand under three futures with committed capacity and sizes the cost of overbuying or underbuying.
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Demand cone
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Bear: average load (GW)
Base: average load (GW)
Bull: average load (GW)
Plan-to level: the top of the cone (GW) | [18 empty] | Planning to the top of the cone protects capacity access; efficiency captures upside if a lower branch arrives.
Committed capacity, gross announced
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
In fleet at the FY2026 anchor (average load, modeled; GW)
Google/Broadcom TPU tranche, from 2027 (GW) | [18 empty] | The Amazon 'up to' is a decadal maximum; committed delivery runs lower. Deal capacity and average-load demand use different bases, so coverage reads optimistic by the utilization gap.
Amazon Trainium tranche, 'up to' (GW)
Committed, total (GW)
Coverage of the Base path (×)
Uncovered against the cone top (GW)
Capex per gigawatt | bar: FY'23 to FY'27
Stated all-in capex per GW ($B) | [18 empty] | One gigawatt is $70 billion, roughly half a million GPUs.
Bottom-up cross-check ($B per GW) | [18 empty] | $20M/MW site and power plus $40M/MW cluster; two buyers land within ~17%.
GPUs to populate the FY2030 Base load (millions)
All-in capex of the FY2030 Base load ($B)
Stated commitment, two deals ($B)
Implied capex over the stated commitment (×) | [18 empty] | The same gigawatts at the stated constant cost a high multiple of the announced commitment; average load understates nameplate, so this is the conservative end.
Annual refresh capex at the six-year life ($B/yr) | [18 empty] | Six-year collateral life is the lender baseline; compressed design cycles push refresh sooner.
Committed deals buy powered capacity through partner balance sheets; contracted operators carry delivery risk while power economics still map to source legs. That carry is the cost the portfolio mix is designed to measure.
Second demand read: revenue follows compute
Revenue per average GW-year, FY2026 calibration ($B/GW) | [18 empty] | Revenue acts as a lagging meter on installed compute; tripling compute implies tripling revenue before compression and efficiency bend the path.
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Implied load, revenue rule (GW) | [18 empty] | Both engines share the FY2026 anchor; the FY2030 spread is what compression and efficiency bend away from proportionality.
Load, cone basis (GW)
Divergence (GW)
Inference share of compute (path to the stated supermajority)
Regret matrix, FY2030 ($B for the year) | bar: FY'23 to FY'27
Carry on an idle gigawatt ($B per GW-yr) | [18 empty] | Amortized build plus the power bill on capacity nobody uses.
Margin lost on an unserved gigawatt, frontier-adjusted ($B per GW-yr) | [18 empty] | Tokens the gigawatt would have served, at margin floored at zero, scaled by the frontier-loss multiplier. At negative serving margin the matrix charges nothing for an unserved gigawatt.
The buy | FY'24: Bear arrives; FY'25: Base arrives; FY'26: Bull arrives; FY'27: Worst case
Lower-reference plan
Central-forecast plan
Upper-reference plan
Lowest worst-case row
Over-sizing idles capital; under-sizing surrenders frontier margin. The matrix moves toward the upper reference path once frontier loss prices above ~4x lost margin. The frontier-loss multiplier drives the sizing decision.
Historical stress storyboards | bar: FY'23 to FY'27
Storyboard | FY'23: Metric; FY'24: Historical read; FY'25: Cone pressure; FY'26: Decision trigger; FY'27: Boundary
Absorption record | FY'23: AMZN + GOOGL + META + MSFT, 2017Q3-2026Q1; FY'24: Trailing-4Q capex is $434B; trend 26.2%/yr with 95% CI 21.6%-31.0%.; FY'25: The five-year capex-window max is 33.5%; base and bull sit above the record.; FY'26: Use the record as a plausibility test before treating the cone as deliverable capacity.; FY'27: Capex dollars proxy compute-demand growth; no $-to-GW conversion is made.
Fuel / geopolitical shock | FY'23: Bear path 31.9%; FY'24: Active-base bear remains inside the historical record; own-drift bear moves above it.; FY'25: Fuel-linked supply turns the upper cone into a procurement-timing problem.; FY'26: Re-bid fuel-linked procurement or leave more residual-grid exposure when the upper band clears the record.; FY'27: Structure ranking remains sensitivity-dependent.
Rate shock | FY'23: Trend CI high 31.0%; FY'24: Higher carry reprices gross announced capacity before it becomes powered capacity.; FY'25: The same megawatts need site, grid, contract, and financing clocks to align.; FY'26: Price schedule, delivery date, and carry should be negotiated together.; FY'27: C13 stays grid absorption pressure; it never becomes a standalone capacity scalar.
Credit crunch | FY'23: Max drawdown 5.0%; FY'24: Longest trailing-4Q decline is 3 quarters.; FY'25: SPV and vendor-financed capacity fail first through liquidity and covenant stress.; FY'26: Stress funded and unfunded offsets before assuming the buildout gets absorbed.; FY'27: Unknown remains valid where debt, equity, or fair value has not been disclosed.
Grid absorption pressure | FY'24: US hyperscaler pipeline is gross announced capacity; powered capacity runs far lower.; FY'25: Interconnection and energization date each megawatt; announcement year is not delivery year.; FY'26: Use queue conversion and grid-capacity stages before sizing procurement coverage.; FY'27: Treat gross announced capacity as timing context and powered capacity as the planning constraint.
Monte Carlo percentile fan: risk-adjusted cost ($/MTok)
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
p95 upper confidence band |  |  |  | 3.6799 | 3.8674 | 4.0504 | 4.2576 | 4.3916 | 4.5245 | 4.7017 | 4.891 | 5.0747 | 5.3011 | 5.5229 | 5.7351 | 5.968 | 6.1678 | 6.4537 | The fan uses 2,000 deterministic Monte Carlo draws. The upper band is the capitalization room the plan needs if power escalation and delivery timing break high.
p90 |  |  |  | 3.5624 | 3.7305 | 3.8822 | 4.0766 | 4.1938 | 4.2991 | 4.4565 | 4.6126 | 4.7693 | 4.9557 | 5.1317 | 5.3107 | 5.4829 | 5.6728 | 5.9223
p75 |  |  |  | 3.258 | 3.3769 | 3.4874 | 3.6465 | 3.7058 | 3.7718 | 3.8729 | 3.9706 | 4.0483 | 4.1623 | 4.2733 | 4.3788 | 4.4974 | 4.6085 | 4.7521
p50 median draw |  |  |  | 2.7246 | 2.7912 | 2.8472 | 2.976 | 2.9667 | 2.9789 | 3.0126 | 3.0295 | 3.0139 | 3.0373 | 3.0619 | 3.0832 | 3.1154 | 3.1465 | 3.1302
p25 |  |  |  | 2.429 | 2.465 | 2.495 | 2.6058 | 2.5592 | 2.5459 | 2.5422 | 2.5174 | 2.4584 | 2.4376 | 2.4221 | 2.4041 | 2.3968 | 2.3924 | 2.3155
p10 |  |  |  | 2.263 | 2.2852 | 2.3067 | 2.4115 | 2.3467 | 2.3196 | 2.299 | 2.2572 | 2.1698 | 2.1267 | 2.0883 | 2.044 | 2.0221 | 2.0006 | 1.8995
p05 lower confidence band |  |  |  | 2.2061 | 2.2257 | 2.241 | 2.3417 | 2.2731 | 2.2397 | 2.2132 | 2.1627 | 2.0726 | 2.0189 | 1.973 | 1.9235 | 1.8942 | 1.8607 | 1.7477

## Anthropic
Anthropic Demand
Run-rate inputs become tokens, then megawatts, then delivered power and procurement cost; task intensity and price elasticity adjust the path. FY2027 forward is forecast.
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
The business on a run-rate basis
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Revenue run-rate exit ($B)
Growth (y/y)
Realized price ($/MTok)
Revenue-rule tokens served (B MTok)
Power intensity (MWh/MTok)
Energy (TWh)
Average load (GW)
Mix targets before the capacity caps bind
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Validated-site PPA share
Stranded-capture share
N-SMR share
Grid residual share (policy bridge)
Source prices ($/MWh, active scenario)
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Merchant reference
Grid-blended residual floor
PPA, validated site
Stranded/curtailed
N-SMR delivered (Option 1)
Blended
The N-SMR tranche uses Option 1. Step-ups, premiums, and credits price on the N-SMR rows, so changing this row alone would not match either contract book. Pricing the first step moves portfolio NPV savings by less than four percent across the cone.
Power cost and savings
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Blended power cost ($B)
All-residual power cost ($B)
Savings vs all-residual ($B)
Cumulative savings ($B)
N-SMR allocation (GW)
Units required, N-SMR (340 MWe)
Savings NPV at the risk-adjusted rate, FY2026-FY2040
Scenario cone
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Bear: growth path
Bear: revenue run-rate ($B)
Bear: average load (GW)
Bear: blended power ($/MWh)
Base: growth path
Base: revenue run-rate ($B)
Base: average load (GW)
Base: blended power ($/MWh)
Bull: growth path
Bull: revenue run-rate ($B)
Bull: average load (GW)
Bull: blended power ($/MWh)
A28 run-rate and recognized-revenue bridge
Basis | FY'23: Source ID; FY'24: Period; FY'25: $B; FY'26: Revenue treatment; FY'27: Model use
recognized-revenue floor | FY'23: CL-20260612-102; FY'24: through 2026-03-09; FY'26: recognized; FY'27: Scale check only.
run-rate, start of 2026 | FY'23: CL-20260611-062; FY'24: FY2025 exit; FY'26: not recognized revenue; FY'27: Demand volume input.
run-rate, FY2026 Q1 exit | FY'23: CL-20260611-061; FY'24: FY2026 Q1 exit; FY'26: not recognized revenue; FY'27: Demand volume input.
Run-rate is forward annualized and is not recognized revenue. Demand uses company-stated run-rate scenarios; the court-sworn cumulative recognized-revenue floor is the scale check.
Task intensity and elasticity bridge
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Run-rate-implied tokens (B MTok)
Tokens-per-task index
Price-elasticity multiplier
Demand driver multiplier
Driver-adjusted tokens (B MTok)
Incremental tokens vs run-rate-only (B MTok)
FY2026 stays fixed because both multipliers equal 1.0; after that, task length and price response move load without rewriting the run-rate path.

## Assumptions
Assumptions
Scenario inputs feed the active case; linked rows keep source values separate from assumptions.
Scenario drivers
Driver | Unit | Bear | Base | Bull | Active | Note
Token price compression | % of list | 40% | 30% | 20% |  | Compression lowers realized revenue per million tokens from list pricing.
Utilization | % | 50% | 65% | 80% |  | Utilization decides how much fixed capacity cost each served token absorbs.
Construction delay | months | 18 | 12 | 6 |  | Delay adds COD-gap carry before capacity can serve load.
Merchant power price, 2026 | $/MWh | 120 | 90 | 70 |  | Merchant power sets the grid-blended residual floor and overhead power base.
GPU cost index | × | 1.15 | 1 | 0.9 |  | Accelerator cost moves the inference component against the baseline.
Capacity rate for carry | $/MWh |  |  |  |  | Bear holds the Jan-2026 print; Base and Bull use the 2025 settled rate.
UF6 conversion ratio (AS-001) | × | 1.35 | 1.15 | 0.95 |  | Use this sensitivity range until current market quotes replace it.
SWU price ratio (AS-002) | × | 1.35 | 1.15 | 0.95 |  | Use this sensitivity range until current market quotes replace it.
Revenue growth, FY2027 | % y/y | 50% | 80% | 120% |  | The first forecast year scales from the stated FY2026 run-rate.
Merchant power escalation | %/yr | 6% | 3% | 1% |  | Escalation raises the cost of any tranche still exposed to market power.
Realized $/MTok drift | %/yr | -15% | -10% | -5% |  | Price compression continues through the forecast horizon.
Power intensity drift | %/yr | -5% | -10% | -15% |  | Efficiency gains lower the energy required per token.
Fuel escalator drift | %/yr | 4% | 2% | 0% |  | Fuel escalation moves the N-SMR fuel leg from its current level.
Tokens per task drift | %/yr | 8% | 4% | 1% |  | Longer context, agentic workflows, and richer tasks raise token volume per delivered unit of work.
Demand elasticity to price compression | × | 0.3 | 0.5 | 0.7 |  | Lower realized price expands usage beyond the run-rate path; this is a volume multiplier, not an added revenue forecast.
Calibration and estimates
List price, gross | $/MTok |  | 5.5 |  |  | The gross list price anchors realized revenue before compression.
Inference compute, base | $/MTok |  | 1.7 |  |  | The base inference cost applies at calibration utilization and GPU index 1.0.
Training amortization, base | $/MTok |  | 0.45 |  |  | The Credit sheet carries the useful-life context behind this amortization.
Networking and storage | $/MTok |  | 0.18
Operator overhead, base | $/MTok |  | 0.28 |  |  | Operator overhead moves with the power-price input.
COD-gap carry, base | $/MTok |  | 0.1 |  |  | COD-gap carry grows with construction delay.
Fixed debt service | $/MTok |  | 0.45 |  |  | Debt service does not shrink when revenue does.
Pre-productive burn | $/MTok/mo |  | 0.04 |  |  | Each stranded month adds carry at the base power price.
Calibration utilization | % |  | 65% |  |  | This is the utilization level at which base costs are stated.
Calibration power price | $/MWh |  | 90 |  |  | This is the power price at which base overhead is stated.
Feed ratio override (0 = use capture) | × |  | 0 |  |  | Leave this at 0 to drive feed from the frozen capture.
Growth decay factor | ×/yr |  | 0.78 |  |  | Each year's growth equals the prior year multiplied by decay, floored at terminal growth.
Terminal revenue growth | %/yr |  | 15%
Revenue run-rate exit, FY2024 | $B |  | 1 |  |  | User assumption; matches the stated ~$1B at the end-2024 raise.
Revenue run-rate exit, FY2025 | $B |  | 9 |  |  | Assumption; matches the stated run rate (CL-20260611-062).
Revenue run-rate exit, FY2026 | $B |  | 30 |  |  | Assumption; matches the stated run rate (CL-20260611-061, unaudited).
Discount rate | %/yr |  | 12% |  |  | The NPV of procurement savings uses this discount rate.
General escalation | %/yr |  | 2.5% |  |  | PPA and stranded-contract prices escalate from this basis.
Procurement structures — assumed terms
Structure |  | Energy $/MWh | Adder $/MWh | Premium % | Delay mo | Note
Residual grid-blended capacity |  |  | 0 | 0% | 0 | Residual grid-blended power is capped and reprices with utilization; it is not an infinite cloud bucket.
Direct PPA, validated site |  | 85 | 0 | 0% | 12 | Approved transfer reduces queue risk, but power still carries before COD.
Stranded/curtailed capture |  | 35 | 15 | 0% | 24 | Low-cost trapped energy requires firming, so development delay is the main risk.
N-SMR PPA (Option 1) |  |  | 0 | 0% | 36 | The delivered price begins at the Unit 2 COD year on the N-SMR sheet.
Mix targets — share of power by source
Direct PPA, terminal share |  |  | 30% |  |  | The terminal share is reached by the ramp-complete year.
Stranded/curtailed, terminal share |  |  | 20%
N-SMR, terminal share |  |  | 25% |  |  | N-SMR stays at zero before Unit 1 COD and then ramps over nNsmrRampYrs.
Mix ramp complete (year) |  |  | 2032 |  |  | The firm-source mix ramps linearly from FY2027 to this year.
N-SMR ramp length (years) |  |  | 5
Residual basis markup over grid floor |  |  | 8% |  |  | Non-scarcity basis for grid-blended residual capacity.
Residual scarcity curve alpha |  |  | 45% |  |  | Multiplier on residual utilization raised to gamma.
Residual scarcity curve gamma |  |  | 2 |  |  | Convexity parameter for scarcity repricing.
Control/operator layer — separate from power source
Lab-owned capacity | [5 empty] | Control dimension only; power still maps to a sourcing leg.
Contracted dedicated third party | [5 empty] | Most external capacity belongs here when source-gated.
Shared public cloud | [5 empty] | Burst or early demand only; not a power-sourcing leg.
Compute allocation
Training compute floor, share of envelope |  |  | 30% |  |  | A hard floor under model development; serving pressure never erodes it.
Internal acceleration share |  |  | 15% |  |  | Valued at the revenue the same compute could otherwise serve.
Serving share (residual) | [5 empty] | Serving receives the envelope left after training and internal acceleration allocations.
Capacity planning
Committed deals ramp (years) |  |  | 4 |  |  | Layer-cake tranches reach full size over this ramp from 2027.
Frontier-loss multiplier on under-buy |  |  | 2 |  |  | Lost margin understates losing the frontier; the multiplier prices the strategic tail.
Inference share of compute, FY2026 |  |  | 60% |  |  | Path ramps to the stated supermajority by the target year.
Inference supermajority reached (year) |  |  | 2032
Validated-transfer PPA capacity, first year |  |  | 2027 |  |  | Sites with transfer already approved; the queue gates everything else.
Validated-transfer PPA, add per year (GW) |  |  | 0.75 |  |  | 480 MW approved at one flagship site sets tranche scale. Decided 2013-2015 cohorts convert 24-30% of MW, 3.5y median to COD (Capacity) — the ramp bets on beating that base rate with pre-validated sites.
Validated-transfer PPA, ceiling (GW) |  |  | 4 |  |  | Finite supply of pre-validated interconnection.
Stranded/curtailed capture, add per year (GW) |  |  | 0.25 |  |  | Development-gated. West-hub negative hours run 7-12%/yr on a near-zero spot floor (Power) — real, cheap, and small; the cap is a firming-pace judgment.
Stranded/curtailed capture, ceiling (GW) |  |  | 1.5
N-SMR units added per year after U2 |  |  | 2 |  |  | Fleet build-out pace once the first pair proves the design.
N-SMR fleet ceiling (units) |  |  | 40

## Sources
Sources
Source values enter once here and feed every downstream model sheet.
Filings, dockets, research
Item | Value | Ref | Entity | Period | Source | Filed wording
US queue, active requests (MW) | 1744748.0906 | CL-20260609-008 | US interconnection queue (LBNL Queued Up 2026) | 2025 | Independent research | DERIVED: LBNL Queued Up 2026 edition (data through 2025) — total active interconnection queue: 8,513 projects, 1,744,748
US queue, withdrawn cumulative (MW) | 4396364.8511 | CL-20260609-013 | US interconnection queue withdrawn (LBNL Queued Up 2026) | 2025 | Independent research | DERIVED: LBNL Queued Up 2026 edition — cumulative withdrawn interconnection queue capacity: 24,221 projects, 4,396,365 M
US queue-originated, operational (MW) | 561539.412 | CL-20260609-014 | US interconnection queue operational (LBNL Queued Up 2026) | 2025 | Independent research | DERIVED: LBNL Queued Up 2026 edition — cumulative operational (commissioned) capacity originating from the interconnecti
ERCOT large-load requests (MW) | 238600 | CL-20260609-030 | ERCOT | 2025-12-17 | Regulator docket | ERCOT continues to track nearly 238.6 GW of large load interconnection requests.
ERCOT approved to energize since 2022 (MW) | 7502 | CL-20260609-031 | ERCOT | 2022-01-01/2025-12-17 | Regulator docket | 7,502 MW have been approved to energize since January 2022.
ERCOT TSP 2031 load forecast (MW) | 218000 | CL-20260609-032 | ERCOT | 2031 | Regulator docket | The 2025 TSP-Provided Load Forecast projects a demand of 218 GW for year 2031, which is significantly higher than the fo
CoreWeave contracted power (MW) | 3100 | CL-20260609-039 | CoreWeave | 2025-12-31 | SEC filing | As of December 31, 2025, our total contracted power capacity was approximately 3.1 GW, which we expect to deploy over fu
CoreWeave active power, YE2025 (MW) | 850 | CL-20260610-054 | CoreWeave | 2025-12-31 | SEC filing | As of December 31, 2025, we operated 43 data centers with over 850 MW of active power.
Talen/AWS max minimum commitment (MW) | 960 | CL-20260609-049 | Talen Energy Corporation / Amazon Web Services | 2024-2028 | SEC filing | Under the Cumulus Data Campus PPA, AWS has minimum contractual power commitments that increase in 120 MW increments annu
PJM-approved transfer limit, ISA study (MW) | 480 | CL-20260609-026 | PJM Interconnection | 2024-11-01 | Regulator docket | PJM has determined that the Interconnection Customer may transfer up to 480 MW of power to the transmission facilities o
Cumulus PPA initial term (years) | 18 | CL-20260609-048 | Talen Energy Corporation / Amazon Web Services | 2024 | SEC filing | The initial term of the Cumulus Data Campus PPA is 18 years, with two 10-year extensions at AWS's option.
PJM capacity charge, 2025 settled ($/MWh) | 13.09 | CL-20260609-028 | PJM Interconnection | 2025 | Regulator docket | Capacity $/MWh (2025 annual): $13.09 — Capacity ($ Millions 2025 annual): $10,616 — Percent Change vs 2024: 262.3%
PJM capacity charge, Jan-2026 YTD ($/MWh) | 16.94 | CL-20260609-029 | PJM Interconnection | 2026-01 | Regulator docket | Capacity $/MWh (January 2026 YTD): $16.94 — Capacity ($ Millions January 2026 YTD): $1,347 — Percent Change vs January 2
PJM positive hourly surplus, 2026 YTD (MWh) | 9025824 | CL-20260609-007 | PJM Interconnection (EIA-930 BA-level) | 2026-01/2026-06 | Regulator docket | DERIVED: PJM balancing authority recorded 9,025,824 MWh of positive hourly surplus (adjusted net generation minus adjust
DDTL 4.0 committed facility ($M) | 8500 | CL-20260609-023 | CoreWeave | 2026-03-31 | SEC filing | CoreWeave, Inc. (Nasdaq: CRWV), The Essential Cloud for AI, today announced it has closed an $8.5 billion delayed draw t
DDTL floating spread over SOFR (%) | 2.25 | CL-20260609-024 | CoreWeave | 2026-03-31 | SEC filing | The facility includes a floating rate tranche financed at SOFR + 2.25% and a fixed rate tranche financed at approximatel
LTV ceiling, IG counterparties (%) | 90 | CL-20260609-021 | CoreWeave | 2024-12-16 | SEC filing | any indebtedness incurred thereunder has a LTV Ratio of no greater than (i) 90%, so long as a material portion of the co
LTV ceiling, non-IG step-down (%) | 75 | CL-20260609-022 | CoreWeave | 2024-12-16 | SEC filing | (ii) 75%, so long as a material portion of the contracts with (or contracted revenue from) entities which do not have an
CoreWeave total debt principal ($M) | 21615 | CL-20260609-038 | CoreWeave | 2025-12-31 | SEC filing | Total principal of debt [as of December 31, 2025]: $21,615 [million]. [...] Total debt, net of unamortized discount and
CoreWeave RPO backlog, 2025 ($M) | 60700 | CL-20260609-037 | CoreWeave | 2025-12-31 | SEC filing | As of December 31, 2025, we had $60.7 billion of remaining performance obligations ("RPO"), compared to $15.1 billion of
CoreWeave RPO backlog, 2024 ($M) | 15100 | CL-20260609-053 | CoreWeave | 2024-12-31 | SEC filing | As of December 31, 2024, we had $15.1 billion of remaining performance obligations reflecting an increase of 53%, from $
CoreWeave revenue, FY2025 ($M) | 5131 | CL-20260609-036 | CoreWeave | 2025 | SEC filing | Revenue [FY2025]: $5,131 [million]
Largest-customer share of 2024 revenue (%) | 62 | CL-20260609-052 | CoreWeave / Microsoft | 2024 | SEC filing | For the years ended December 31, 2023 and 2024, our largest customer was Microsoft, which accounted for 35% and 62% of o
CoreWeave GPU useful life (years) | 6 | CL-20260609-051 | CoreWeave | 2023-01-01 onward (policy as of FY2025) | SEC filing | Effective January 1, 2023, the Company changed its estimate of the useful life for its computing equipment utilized in d
Meta server useful life (years) | 5.5 | CL-20260609-042 | Meta Platforms | 2025 | SEC filing | In January 2025, we completed an assessment of the useful lives of certain servers and network assets, which resulted in
NVIDIA purchase commitments, FY2026 ($M) | 95200 | CL-20260609-019 | NVIDIA Corporation | as of Jan 25, 2026 | SEC filing | As of January 25, 2026, these commitments were $95.2 billion, of which substantially all will be paid through fiscal yea
NVIDIA purchase commitments, FY2025 ($M) | 30800 | CL-20260609-020 | NVIDIA Corporation | as of Jan 26, 2025 | SEC filing | As of January 26, 2025, we had outstanding inventory purchase and long-term supply and capacity obligations totaling $30
Alphabet capex, FY2025 ($M) | 91400 | CL-20260609-044 | Alphabet | 2025 | SEC filing | During the years ended December 31, 2024 and 2025, we spent $52.5 billion and $91.4 billion on capital expenditures, res
Microsoft P&E additions, 9M FY2026 ($M) | 80146 | CL-20260609-046 | Microsoft | 2025-07-01/2026-03-31 | SEC filing | Additions to property and equipment (80,146) [nine months ended March 31, 2026]
BLS ECI manufacturing comp, 2025Q2 (index) | 164.922 | CL-20260609-001 | US private manufacturing labor cost (BLS ECI) | 2025-Q2 | Regulator docket | BLS Employment Cost Index (total compensation, private industry, manufacturing, NSA, series CIU2013000000000I) = 164.922
BLS PPI industrial electric power, Aug-2025 | 286.234 | CL-20260609-002 | US industrial electric power prices (BLS PPI) | 2025-08 | Regulator docket | BLS PPI Industrial Electric Power (series PCU22112222112243) = 286.234 for Aug-2025 (the contract anchor month).
BLS PPI nonferrous mill shapes, Aug-2025 | 363.864 | CL-20260609-003 | US nonferrous metal mill shapes prices (BLS PPI) | 2025-08 | Regulator docket | BLS PPI Nonferrous Metal Mill Shapes (series PCU331491331491D) = 363.864 for Aug-2025 (the contract anchor month).
BLS PPI fabricated metal, Aug-2025 | 299.857 | CL-20260609-004 | US fabricated metal product prices (BLS PPI) | 2025-08 | Regulator docket | BLS PPI Fabricated Metal Product Manufacturing (series PCU332---332---) = 299.857 for Aug-2025 (the contract anchor mont
U3O8 spot, Aug-2025 ($/lb) | 75.13 | CL-20260609-005 | U3O8 spot market (UxC/TradeTech via Cameco) | 2025-08 | Independent research | U3O8 uranium spot price, Aug-2025 month-end industry average (UxC/TradeTech) as republished by Cameco = $75.13/lb.
U3O8 long-term, Aug-2025 ($/lb) | 81 | CL-20260609-006 | U3O8 long-term market (UxC/TradeTech via Cameco) | 2025-08 | Independent research | U3O8 uranium long-term price, Aug-2025 month-end industry average (UxC/TradeTech) as republished by Cameco = $81.00/lb.
Anthropic cumulative recognized-revenue floor, sworn ($M, '>$5B') | 5000 | CL-20260612-102 | Anthropic | cumulative through 2026-03-09 | Court-sworn declaration | Krishna Rao (CFO, Anthropic), sworn declaration under 28 U.S.C. § 1746: 'the company has generated substantial revenue s
Anthropic outside capital raised, sworn ($M, '>$60B') | 60000 | CL-20260612-103 | Anthropic | cumulative through 2026-03-09 | Court-sworn declaration | Krishna Rao (CFO, Anthropic), sworn declaration under 28 U.S.C. § 1746: Anthropic 'has nonetheless had to raise more tha
Anthropic cumulative compute spend, sworn ($M, '>$10B') | 10000 | CL-20260612-104 | Anthropic | cumulative through 2026-03-09 | Court-sworn declaration | Krishna Rao (CFO, Anthropic), sworn declaration under 28 U.S.C. § 1746: 'Anthropic has already spent over $10 billion on
ERCOT West hub negative-price hours, 2022 (%, measured) | 11.59 | CL-20260612-105 | ERCOT HB_WEST (West hub, RTM) | 2022 | Company statement (operator) | DERIVED: ERCOT West hub (HB_WEST) real-time settlement point price was negative in 1,015 of 8,760 hours (11.6% of hours,
ERCOT West hub negative-price hours, 2025 (%, measured) | 7.28 | CL-20260612-108 | ERCOT HB_WEST (West hub, RTM) | 2025 | Company statement (operator) | DERIVED: ERCOT West hub (HB_WEST) real-time settlement point price was negative in 638 of 8,760 hours (7.3% of hours, ho
Retired nuclear nameplate, post-2002 US (MW) | 8980.4 | CL-20260612-109 | US retired nuclear generators (EIA-860M Retired tab) | 2026-04 | Regulator docket | The EIA-860M 2026-04 Retired tab lists 11 retired nuclear generator units totaling 8980.4 MW nameplate (retirement cover
Retired nuclear sites, post-2002 US (count) | 10 | CL-20260612-110 | US retired nuclear sites (EIA-860M Retired tab, plant_id level) | 2026-04 | Regulator docket | The EIA-860M 2026-04 Retired tab resolves to 10 retired-nuclear plant IDs (Indian Point 2 and 3 carry separate plant IDs
ERCOT nodes ≥25% negative hours, 2024 (% of 785, measured) | 0 | CL-20260612-122 | ERCOT resource nodes (RTM settlement points) | 2024 | Company statement (operator) | DERIVED: Across 785 ERCOT resource nodes with full-year RTM coverage in 2024, 0 nodes (0.0%) had negative real-time sett
LZ_WEST node median negative share, 2024 (%, measured) | 11.78 | CL-20260612-123 | ERCOT LZ_WEST resource nodes (RTM settlement points) | 2024 | Company statement (operator) | DERIVED: The 2024 negative-hour burden concentrates in ERCOT's West settlement load zone: median LZ_WEST resource node n
Queue conversion, 2015 cohort national (MW share) | 24.48% | CL-20260612-112 | US interconnection queue 2015 cohort (LBNL Queued Up 2026) | 2015 | Independent research | DERIVED: LBNL Queued Up 2026 edition — 2015 entry-year cohort conversion, observed through 2025 (10 years, 90.2% of coho
Median time, queue entry to COD (years) | 3.5346 | CL-20260612-113 | US interconnection queue operational projects (LBNL Queued Up 2026) | 2025 | Independent research | DERIVED: LBNL Queued Up 2026 edition — time from queue entry (q_date) to commercial operation (on_date) for operational
PJM BRA clearing price, DY2025/26 RTO ($/MW-day) | 269.92 | CL-20260612-114 | PJM Interconnection | 2025/2026 | Company statement (operator) | PJM RPM Base Residual Auction, 2025/2026 Delivery Year: RTO resource clearing price $269.92/MW-day (Capacity Performance
PJM BRA clearing price, DY2027/28 RTO ($/MW-day) | 333.44 | CL-20260612-115 | PJM Interconnection | 2027/2028 | Company statement (operator) | DERIVED: PJM RPM BRA RTO clearing-price history, 2007/08 through 2027/28 delivery years (21 auctions, headline product p
NREL ATB SMR CAPEX, Moderate 2034 ($/kW) | 8220.4 | CL-20260612-116 | NREL ATB (sector projection) | online year 2034 | Independent research | NREL ATB 2024 v3.0.0: Nuclear - Small (SMR) CAPEX, Moderate scenario, R&D case, 30-year CRP, online year 2034: $8,220/kW
NREL ATB SMR CAPEX, Conservative 2034 ($/kW) | 12178.9 | CL-20260612-117 | NREL ATB (sector projection) | online year 2034 | Independent research | NREL ATB 2024 v3.0.0: Nuclear - Small (SMR) CAPEX, Conservative scenario, R&D case, 30-year CRP, online year 2034: $12,1
NREL ATB SMR LCOE, R&D no-ITC 2034 ($/MWh) | 97.7 | CL-20260612-118 | NREL ATB (sector projection) | online year 2034 | Independent research | NREL ATB 2024 v3.0.0: Nuclear - Small (SMR) LCOE, Moderate scenario, R&D case (no ITC), 30-year CRP, online year 2034: $
Vogtle 3&4 total cost, floor ($M, '>$30B') | 30000 | CL-20260612-119 | Georgia Power (Vogtle 3&4) | cumulative through 2024-05 (Unit 4 COD) | Company statement (operator) | EIA Today in Energy #61963: 'Georgia Power now estimates the total cost of the project to be more than $30 billion' — Vo
Company statements — volume inputs separated from recognized revenue
Compute commitment, two deals ($M, '>$100B') | 100000 | CL-20260611-055 | Anthropic | as stated ~2026-05 | Company statement (podcast) | Krishna Rao (CFO, Anthropic): 'It was an over $100 billion commitment.' [re: the 5 GW Google/Broadcom and up-to-5 GW Ama
Google/Broadcom TPU deal, from 2027 (MW, gross announced) | 5000 | CL-20260611-056 | Anthropic / Google / Broadcom | signed ~2026-04; capacity from 2027 | Company statement (podcast) | Krishna Rao (CFO, Anthropic): 'Last month, we signed a 5-gigawatt deal with Google and Broadcom for TPUs starting in 202
Amazon Trainium deal, 'up to' (MW, gross announced) | 5000 | CL-20260611-057 | Anthropic / Amazon | as stated ~2026-05 | Company statement (podcast) | Krishna Rao (CFO, Anthropic): 'We also signed a deal with Amazon for Trainium for up to 5 gigawatts.' ['up to' is load-b
Net dollar retention, annualized (%) | 500 | CL-20260611-058 | Anthropic | as stated ~2026-05 | Company statement (podcast) | Krishna Rao (CFO, Anthropic): 'For us, annualized net dollar retention is over 500%.'
Fortune 10 customers (count) | 9 | CL-20260611-059 | Anthropic | as stated ~2026-05 | Company statement (podcast) | Krishna Rao (CFO, Anthropic): 'We sell to nine of the Fortune 10.'
Internal code written by Claude Code (%) | 90 | CL-20260611-060 | Anthropic | as stated ~2026-05 | Company statement (podcast) | Krishna Rao (CFO, Anthropic): '90+ percent of our code internally is actually written by Claude Code.'
Run-rate revenue exit, FY2026 Q1 ($M, unaudited run-rate) | 30000 | CL-20260611-061 | Anthropic | FY2026 Q1 exit | Company statement (podcast) | Krishna Rao (CFO, Anthropic): 'We started the year with about $9 billion of run rate revenue, and we ended the quarter w
Run-rate revenue, start of 2026 ($M, unaudited run-rate) | 9000 | CL-20260611-062 | Anthropic | FY2025 exit / start of 2026 | Company statement (podcast) | Krishna Rao (CFO, Anthropic): run-rate revenue 'about $9 billion' at the start of 2026 (same sentence as CL-20260611-061
CFO time on compute (%, stated 30-40) | 35 | CL-20260611-063 | Anthropic | as stated ~2026-05 | Company statement (podcast) | Krishna Rao (CFO, Anthropic): 'I would say I spend 30 to 40% of my time on compute even today.' [midpoint 35 registered;
Compute and revenue multiple, trailing 3 yrs (× per year) | 3 | CL-20260611-065 | OpenAI | trailing 3 yrs as of Spring 2026 | Company statement (operator) | Sachin Katti (OpenAI): 'Every year we have tripled compute year-over-year, and revenue has tripled.' [trailing three yea
OpenAI aspirational capacity target (MW, aspiration) | 30000 | CL-20260611-066 | OpenAI | Spring 2026 | Company statement (operator) | Sachin Katti (OpenAI): 'The 30-gigawatt aspirational goal here is split across research and products.' [speaker's own la
Inference share, projected supermajority (%) | 80 | CL-20260611-067 | OpenAI | forward-looking, horizon unstated (Spring 2026) | Company statement (operator) | Sachin Katti (OpenAI): 'Our prediction is that a supermajority — 80% plus — will essentially be inference compute in the
GPUs per gigawatt (count) | 500000 | CL-20260611-068 | OpenAI | Spring 2026 | Company statement (operator) | Sachin Katti (OpenAI): 'A gigawatt is roughly half a million GPUs.'
All-in capex per GW ($M) | 70000 | CL-20260611-069 | OpenAI | Spring 2026 | Company statement (operator) | Sachin Katti (OpenAI), on Stargate: 'A gigawatt is $70 billion in spend.'
US hyperscaler pipeline (MW, gross announced) | 100000 | CL-20260611-070 | US hyperscalers (per OpenAI) | Spring 2026, horizon unstated | Company statement (operator) | Sachin Katti (OpenAI): 'The US hyperscalers are planning to build around 100 gigawatts of compute, which will consume a
Frontier intelligence lead (months) | 6 | CL-20260611-071 | OpenAI | Spring 2026 | Company statement (operator) | Sachin Katti (OpenAI): 'A six-month lead in intelligence is an enormous commercial lead.'
Human-led chip design cycle (years) | 3 | CL-20260611-072 | semiconductor industry (per OpenAI) | Spring 2026 | Company statement (operator) | Sachin Katti (OpenAI): 'A typical human-led chip design cycle takes 3 years.'
All-in capex per MW, bottom-up ($M) | 60 | CL-20260611-074 | Crusoe | Spring 2026, forward-looking next-gen build | Company statement (operator) | Chase Lochmiller (Crusoe): 'You spend about $20 million per MW for the data center and power plant, then another $40 mil
GPU rental revenue per MW-year ($M) | 15 | CL-20260611-075 | Crusoe | Spring 2026, forward-looking | Company statement (operator) | Chase Lochmiller (Crusoe): revenue from renting GPU capacity is roughly $15 million per MW per year.
Abilene campus aggregate (MW, gross announced) | 2100 | CL-20260611-076 | Crusoe / Abilene campus / Oracle / OpenAI / Microsoft | Spring 2026 | Company statement (operator) | Chase Lochmiller (Crusoe): 'The campus is 2.1 GW in aggregate.' [Abilene; eight buildings Oracle/OpenAI (Stargate); plan
West-TX negative-priced hours, congested nodes (%) | 27.5 | CL-20260611-077 | ERCOT West (per Crusoe) | pre-buildout, as stated 2025-11 | Company statement (podcast) | Chase Lochmiller (Crusoe), McKinsey 'At the Edge' (Nov 2025): 'People in some of the more congested nodes were getting n
Reported TPU SPV debt financing ($M, secondhand) | 36000 | CL-20260611-078 | Anthropic / Apollo / Blackstone / Broadcom / Google | reported 2026-05 | Secondhand (social) | Anton Kuzmanov (LinkedIn, 2026-05-29): 'Anthropic's reported $36 billion TPU financing' — an SPV raises debt and equity,
N-SMR PPA cohort duration (years) | 30 | CL-20260611-079 | N-SMR PPA cohort (per operator contact) | 2026-06 | Company statement (operator) | dday N-SMR memo (energy-sector contact, operator side): 30 years 'is about where the cohort is now landing on these agre
Fixed-price years before first step-up | 6 | CL-20260611-080 | N-SMR PPA cohort (per operator contact) | 2026-06 | Company statement (operator) | dday N-SMR memo: 'a fixed price for six years with a predetermined step-up so long as certain initial or expected requir
Planned outage maximum (days/yr; once, never spring/fall) | 35 | CL-20260611-081 | N-SMR PPA cohort (per operator contact) | 2026-06 | Company statement (operator) | dday N-SMR memo: planned outages 'can have them once a year. They should be between 30 and 35 days, absolutely no more';
N-SMR term sheet - registered input values
Net capacity per unit (MWe) | 340 | CL-20260611-082 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Planned Capacity: two units, each netting 340 MWe (680 MWe total). [single-engine visual transcription; spot-check pendi
Units (U1 + U2) | 2 | CL-20260611-083 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Planned Capacity: two units (U1 + U2). [single-engine visual transcription; spot-check pending]
Energy per unit per cycle (MWh) | 4110192 | CL-20260611-084 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Total energy planned for the cycle, set to 4,110,192 MWh per Unit, per cycle. [single-engine visual transcription; spot-
Cycle length (years) | 1.5 | CL-20260611-085 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Escalation assessed on a nominal period associated with cycle length (initially, one and one half years). [single-engine
Operating component escalation (fixed, from 2026) | 2.5% | CL-20260611-086 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Operating Cost Component subject to annual escalation at a fixed rate of 2.5% (beginning January 1, 2026). [single-engin
Availability guarantee, year 1 | 75% | CL-20260611-087 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Availability Guarantee: >=75% in year 1. [single-engine visual transcription; spot-check pending]
Availability guarantee, years 2+ | 90% | CL-20260611-088 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Availability Guarantee: >=90% in years 2+. [single-engine visual transcription; spot-check pending]
Planned-capacity floor before Buydown LDs | 95% | CL-20260611-089 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Failure to meet Planned Capacity >=95%: one-time ability to rebaseline Capacity by paying Buydown LDs. [single-engine vi
Force-majeure days before no-fault termination | 270 | CL-20260611-090 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Force Majeure: an event >270 days could result in early termination without liability. [single-engine visual transcripti
Delay damages scale with data-center load (share) | 80% | CL-20260611-091 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Delay damages scale with the data center's actual load (the DD example uses 80% of 680 MWe). [single-engine visual trans
U1 commercial operations (target year) | 2032 | CL-20260611-092 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Target COD U1: Jul 31, 203# (final digit redacted); voice memo pins first unit at 2032. [single-engine visual transcript
U2 commercial operations (target year) | 2033 | CL-20260611-093 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Target COD U2: Dec 31, 203# (final digit redacted); voice memo pins second unit at 2033. [single-engine visual transcrip
Assembly weight: U3O8 feed | 0.46 | CL-20260611-094 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Nuclear fuel assembly cost weight: 0.46 on U3O8 feed. [single-engine visual transcription; spot-check pending]
Assembly weight: conversion | 0.09 | CL-20260611-095 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Nuclear fuel assembly cost weight: 0.09 on conversion to UF6. [single-engine visual transcription; spot-check pending]
Assembly weight: enrichment (SWU) | 0.25 | CL-20260611-096 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Nuclear fuel assembly cost weight: 0.25 on Separative Work Units (enrichment). [single-engine visual transcription; spot
Assembly weight: fabrication | 0.2 | CL-20260611-097 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Nuclear fuel assembly cost weight: 0.20 on fabrication. [single-engine visual transcription; spot-check pending]
Fabrication sub-weight: ECI labor | 0.4 | CL-20260611-098 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Fabrication sub-index weight: 0.40 on ECI labor (Employment Cost Index, private industry, manufacturing). [single-engine
Fabrication sub-weight: PPI industrial electric | 0.3 | CL-20260611-099 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Fabrication sub-index weight: 0.30 on PPI Industrial Electric Power (PCU22112222112243). [single-engine visual transcrip
Fabrication sub-weight: PPI nonferrous shapes | 0.2 | CL-20260611-100 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Fabrication sub-index weight: 0.20 on PPI Nonferrous metal mill shapes (PCU331491331491D). [single-engine visual transcr
Fabrication sub-weight: PPI fabricated metal | 0.1 | CL-20260611-101 | Redacted N-SMR PPA pages 1-7 |  | Gated term sheet | Fabrication sub-index weight: 0.10 on PPI Fabricated Metal Product Manufacturing (PCU332332). [single-engine visual tran
Market data and measured series
U3O8 spot, May-2026 ($/lb) | 84.18 |  | market data, May-2026; 10-K Item 1
U3O8 long-term, May-2026 ($/lb) | 94 |  | market data, May-2026; 10-K Item 1
BLS ECI, latest (index) | 168.588 |  | market data, May-2026; 10-K Item 1
BLS PPI industrial electric power, May-2026 | 254.061 |  | market data, May-2026; 10-K Item 1
BLS PPI nonferrous mill shapes, May-2026 | 418.182 |  | market data, May-2026; 10-K Item 1
BLS PPI fabricated metal, May-2026 | 315.534 |  | market data, May-2026; 10-K Item 1
CoreWeave active power, YE2023 (MW; 10-K Item 1) | 70 |  | market data, May-2026; 10-K Item 1
CoreWeave active power, YE2024 (MW; 10-K Item 1) | 360 |  | market data, May-2026; 10-K Item 1
PJM BRA YoY escalation, median of 20 steps (×) | 1.0462 |  | measured series, frozen Jun-2026
PJM BRA YoY escalation, P90 of 20 steps (×) | 2.9232 |  | measured series, frozen Jun-2026
ERCOT West cheapest-quintile mean, 2025 ($/MWh) | 1.8327 |  | measured series, frozen Jun-2026
N-SMR cost basis, central (ATB Moderate SMR, 7.5% WACC, $/MWh) | 115.7455 |  | measured series, frozen Jun-2026
N-SMR cost basis, low (ATB Advanced, 6% WACC, $/MWh) | 65.519 |  | measured series, frozen Jun-2026
N-SMR cost basis, high (Vogtle-implied, 9% WACC, $/MWh) | 195.34 |  | measured series, frozen Jun-2026
Priced score: country/geopolitical (BAA10Y, 10y pctile) | 1 |  | measured series, frozen Jun-2026
Priced score: FOAK execution (HY OAS, 10y pctile) | 1 |  | measured series, frozen Jun-2026
Priced score: civil labor (ECI mfg YoY, 10y pctile) | 4 |  | measured series, frozen Jun-2026
U3O8 feed anchor: mean of Aug-2025 spot and long-term
U3O8 feed, current: mean of May-2026 spot and long-term
Talen ramp increment per filed schedule (MW/yr)
Implied N-SMR capacity factor (MWh/cycle vs nameplate)

## NSMR
N-SMR PPA
Two 340 MWe units price baseload capacity through COD gates, step-ups, credits, and buyer-side take risk.
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Price components, 2025$
Capital component ($/MWh) |  | 62 | [16 empty] | The capital component is fixed for the contract term.
Operating component ($/MWh) |  | 24 | [16 empty] | The operating component escalates at the contract 2.5% from 2026.
Nuclear fuel component ($/MWh) |  | 11 | [16 empty] | The fuel component rides the fuel escalation formula.
ITC adder reduction ($/MWh) |  | 8 | [16 empty] | The federal tax credit is netted out of the delivered price.
Option 2 reimbursable fuel cap ($/MWh) |  | 14 | [16 empty] | Option 2 caps the reimbursable pass-through fuel leg.
Years at fixed price before first step-up |  | 6 | [16 empty] | The assumption matches the stated six years in CL-20260611-080.
Years between scheduled step-ups |  | 3
Step-up magnitude per step |  | 8% | [16 empty] | Each scheduled step-up requires the performance gates below to clear.
Exclusivity premium ($/MWh) |  | 12 | [16 empty] | The early-benefactor premium: part of the price buys a seat among the first holders of this capacity, not energy.
Premium relief from flexibility offered |  | 30% | [16 empty] | Output flexibility is bid currency: widening the take band buys down the exclusivity premium.
Production and capacity credits ($/MWh) |  | 5 | [16 empty] | Government production and capacity credits reduce the delivered price.
Performance gates cleared at each step |  | Yes | [16 empty] | No freezes the price at its pre-step level until the gate clears.
Delivered price path ($/MWh)
| FY'23 | FY'24 | FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40
Capital component
Operating, escalated from 2026
Fuel, on the escalator path
Option 1 delivered price
Option 2 (capped pass-through fuel)
Step multiplier on the fixed price
All-in delivered: stepped price + premium, net of credits
Physical and risk terms
Nameplate, two units (MW) | [18 empty] | U1 2032, U2 2033.
Implied capacity factor per cycle | [18 empty] | 4,110,192 MWh per unit per 1.5-yr cycle; consistent with the 90% availability guarantee.
Energy per unit per year (TWh)
Availability guarantee, year 1 | [18 empty] | Two consecutive failed 12-month periods is an event of default.
Availability guarantee, years 2+
Delay-damage load scaling | [18 empty] | Damages scale with the data center's actual load: the buyer's ramp is contractually coupled to the seller's penalty.
Force majeure no-fault window (days) | [18 empty] | Beyond it, either side may terminate without liability.
Cohort duration norm (years) | [18 empty] | Buyer obligation runs about 30 years from U1 COD; the term sheet adds a 10-year extension option.
NRC approvals and a signed interconnection agreement are due July 2029; missing that gate lets the seller terminate against repayment of advances.
Under-utilization exposure, years 2+
Buyer take-up of contracted output | FY'24: 92% | Buyer owes the full PPA price on 100% of output whether or not its load absorbs it.
Spot assessment adder ($/MWh) | FY'24: 25 | Assessed on energy the buyer cannot take, independent of the operator's resale.
Annual output, two units (MWh)
Energy the buyer cannot take (MWh/yr)
Liability on untaken energy ($M/yr) | [18 empty] | Full contract price plus the spot assessment; the steepest recurring buyer-side exposure in the structure.
Operator resale at merchant, context ($M/yr) | [18 empty] | The operator turns to the same spot market with the energy; the buyer's assessment does not net against it.
Output guarantee and shortfall damages
Availability outcome, modeled | FY'24: 88% | Set below the guarantee to price a shortfall year.
Shortfall vs years-2+ guarantee (MWh/yr)
Shortfall damages cap per 12-month period ($M) | FY'24: 40 | The cap is a seller proposal still in red ink, not a settled term.
Shortfall damages, capped ($M/yr) | [18 empty] | Two consecutive failed periods hand the buyer a termination right; breach damages are not explicitly capped.
The asymmetry: the operator's downside runs through capped period damages into uncapped breach damages and termination; the buyer's is bounded by the assessment above.
Change-of-law waterfall
Stress loss, modeled ($M) | FY'24: 100 | A no-fault change of law lands a loss on the structure; the tiers decide who eats it.
Buyer first-loss tier, cap ($M) | FY'24: 50 | The buyer absorbs first, up to this threshold.
Seller second tier, cap ($M) | FY'24: 150 | The seller takes the next layer.
Buyer absorbs ($M)
Seller absorbs ($M)
Shared beyond both tiers, each party ($M) | [18 empty] | Catastrophic remainder splits evenly, down to bankruptcy if needed.
Total allocated ($M) | [18 empty] | Reconciles to the stress loss on Checks.
Covenants and liquidity
Initial deposits required ($M) | FY'24: 75 | Collateral agents require funded accounts before first power.
Escrow accounts ($M) | FY'24: 40
Operating accounts ($M) | FY'24: 25
Maintenance accounts ($M) | FY'24: 20
Liquidity posted before first power ($M)
Buyer advances, milestone-linked ($M) | FY'24: 200 | Redacted at source; the recurring unit of pre-COD credit exposure, repaid on the liability-matrix caps.
Lenders sit at the gate: collateral agents, proof-of-funds, and performance security stepping with advances (parent guaranty pre-COD).
Outage mechanics
Planned outage allowance, days per year | [18 empty] | Once per year, 30-35 days, never spring or fall; unforced outages negotiate liability separately.
Implied availability ceiling from the outage norm
Headroom over the years-2+ guarantee | [18 empty] | The outage allowance leaves about one point of headroom over the 90% guarantee: the schedule is the contract's real constraint.
Price decomposition — the wrapper vs the asset
All-in delivered, FY2034 ($/MWh) | [18 empty] | The contract price: asset plus wrapper.
Cost-based underlying, central basis ($/MWh) | [18 empty] | ATB 2024 SMR Moderate at 7.5% WACC [JUDGMENT: grid 6/7.5/9%], 30y life [JUDGMENT], CF 0.93 [SOURCED], no ITC.
Basis range, low - high ($/MWh) | [18 empty] | Low: ATB Advanced at 6% WACC. High in F: Vogtle-implied at 9%. A range, never a point.
Duration and scarcity premium (residual, $/MWh) | [18 empty] | Negative (~-$15) against the central basis: the contract underprices central cost recovery; a premium read survives only under ATB Advanced (+$22-35). The wrapper is cover bought below cost, not scarcity paid above it.
Residual grid-blended capacity under Bear, FY2037 ($/MWh) | [18 empty] | The full-utilization residual exposure a floating buyer carries at mid-term if the Bear arrives.
Fixed-price cover the wrapper buys at FY2037 ($/MWh) | [18 empty] | Bear-path residual-grid cost avoided per MWh by holding the fixed price. Against the premium two rows up, this is the insurance economics of the wrapper.

## Capacity
Capacity Conversion
Queue entries against capacity ever built; the contracted-vs-powered gap.
US interconnection queue — LBNL Queued Up 2026
Active requests (MW)
Withdrawn, cumulative (MW)
Queue-originated operational (MW)
Tracked capacity: active + withdrawn + built (MW)
Realized conversion
ERCOT large-load tracker
Interconnection requests (MW)
TSP 2031 load forecast (MW)
Requests over the system's own forecast
Approved to energize since 2022 (MW)
Approved-to-energize share
CoreWeave powered vs contracted — 10-K
| FY'23 | FY'24 | FY'25 | Gap
Active power, year-end (MW)
Contracted power (MW)
Contracted, not yet powered (MW)
Cohort conversion — LBNL, Jun-2026
2015 cohort, operational share of MW (10y observed)
Median time, queue entry to COD (years)
The 8.4% scalar is all-vintage and right-censored by 2019+ cohorts. Decided 2013-2015 cohorts convert 24-30% of MW (PJM 15.9% in 2015); 2016/2017 sit at 17.0%/13.1% and resolving downward. Cohort curves, not the scalar, set the realistic PPA ramp.

## Power
Take-or-Pay Carry
Cumulus committed ramp vs the 480 MW approved transfer, priced at PJM capacity rates.
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
| FY'25 | FY'26 | FY'27 | FY'28 | FY'29 | FY'30 | FY'31 | FY'32 | FY'33 | FY'34 | FY'35 | FY'36 | FY'37 | FY'38 | FY'39 | FY'40 | FY'41 | FY'42
Committed minimum (MW)
Approved transfer limit (MW)
Transfer-blocked (MW)
Carry at capacity rate ($M/yr)
Cumulative carry ($M)
PJM rate context | bar: FY'25 to FY'28
Capacity charge, 2025 settled ($/MWh)
Capacity charge, Jan-2026 YTD ($/MWh)
Escalation vs settled
Carry per committed MW-year ($)
PJM hourly generation surplus, 2026 YTD (MWh)
PJM BRA price history
BRA clearing price, DY2025/26 RTO ($/MW-day)
BRA clearing price, DY2027/28 RTO ($/MW-day)
YoY escalation, median of 20 auction steps (×)
YoY escalation, P90 of 20 auction steps (×)
21 auctions, DY2007/08-2027/28. The carry scenario spread has a measured distribution behind it: median step 1.05x, P90 2.92x, capped in practice by Net CONE.
ERCOT West clearing — measured, 2022-2026
Negative-price hours, 2025 (share)
Negative-price hours, 2022 (share)
Cheapest-quintile mean price, 2025 ($/MWh)
LZ_WEST node median, 2024 (measured, nodal)
Nodes at or above 25% negative hours, 2024 (of 785)
Quoted congested-node share, for contrast (%)
Real-time settlement, 2022-2026, all 785 nodes for 2024. The deep-negative tail is West-concentrated (LZ_WEST median 11.8% vs 2.1% elsewhere), but the quoted 25-30% is not corroborated: no node reaches 25% (max 23.7%). The $35 stranded assumption buys firmed delivery above a near-zero raw floor.
Licensed LMP leg — held outside this workbook
The workbook excludes the licensed ISO LMP slice. Use the ERCOT public/operator series above for the shipped stranded-energy floor; the licensed LMP leg remains outside this workbook.

## CoI
Cost of Intelligence
Margin per million tokens at the active scenario.
Per-MTok stack
Scenario revenue | List price net of compression.
Utilization drag | Fixed capacity spread over fewer served tokens.
Inference compute
Training amortization
Networking and storage
Operator overhead | Rides the power price.
COD-gap carry | Rides the construction delay.
Cost of intelligence
Operating margin
Margin of revenue
DSCR | Margin over fixed debt service.
Breakeven utilization | Utilization where margin crosses zero.
Liquidity trough | Multiplicative in delay and compression.
Implied power intensity | The overhead calibration implies the MWh required per million tokens.

## Procurement
Procurement Structures
The next gigawatt has different price, carry, failure mode, and time-to-compute depending on how it is sourced.
FY2026 marginal snapshot
Structure | Power ($/MWh) | Δ overhead ($/MTok) | COD carry ($/MTok) | CoI ($/MTok) | RA CoI ($/MTok) | Δ vs best ($/MTok) | Margin ($/MTok) | DSCR
Risk haircut per delay-year | 5% | Utilization-equivalent haircut per year of structure delay.
Cheapest marginal source
Its RA CoI ($/MTok)
The marginal snapshot is context, not the answer. No source absorbs the whole envelope, and the caps bind on Portfolio. The N-SMR row prices at its U2-COD year and carries the longest delay risk.
Time-to-compute scorecard
Structure | Order year | Lands year | Powered year | Lead-time months | Return | Duration | Location | Type | Efficiency | Time-to-compute | Deal score
| 2026 | 2026 | 2026
2026
2026
2026
Fastest by time-to-compute
Best deal score |  |  |  | Score
A faster structure can score above a cheaper one because the ordering problem is capacity arriving on the contract clock, not power price alone.

## Fuel
Fuel Escalator
Assembly-weighted escalation vs the Aug-2025 anchor. Feed and fabrication are market; conversion and enrichment are assumed.
Fabrication composite
ECI labor leg
Industrial electric power leg
Nonferrous mill shapes leg
Fabricated metal leg
Fabrication composite
Assembly escalator
Feed ratio (capture, overridable)
Feed leg
Conversion leg | Assumed range for sensitivity testing.
Enrichment leg | Assumed range for sensitivity testing.
Fabrication leg
Fuel escalator vs Aug-2025
Checks reconciles this composite against an independent derivation.

## LiveTape
Live Constraint Tape
Snapshot bridge to the browser-live market context; workbook formulas remain auditable and static.
Tracked /model constraint tape
Metric | Value | Unit | Source key | Basis | Decision use
Tape generated at | 2026-07-07T20:24:20Z |  | generated_at | max source-artifact timestamp | The static workbook snapshot must disclose the live-context vintage.
PJM capacity price step | 9.3333 | x | capacity_price.bra_step_2425_to_2526 | PJM BRA RTO delivery-year clearing prices | Capacity price shock sizes timing exposure; it does not overwrite the procurement model path.
Hyperscaler capex absorption | 433.899 | $B | demand_spine.trailing4q_latest_usd_b | 2017Q3 to 2026Q1 | The demand spine is a financing-capacity stress record, not a direct $-to-GW conversion.
Fuel fabrication composite | 1.0103 | x | fuel_escalator.fabrication_composite | 2026-05 | BLS-backed fabrication leg; conversion and SWU remain pending, so full fuel escalation stays labeled.
Fuel feed proxy ratio | 1.1561 | x | fuel_escalator.feed_proxy_ratio | [PROXY] feed proxy | [PROXY] avg(spot, long-term), Cameco-published UxC/TradeTech industry averages
Fuel live-weight coverage | 66% | % | fuel_escalator.live_weight_coverage | priced fuel-leg coverage | Only the live-backed weight is priced; pending legs stay as explicit assumptions.
Risk priced composite | 0.48 | score | risk_composite.composite_priced | 3 of 8 factors priced | Two tested legs turn contrarian on 12-month forward-change, so the priced composite stays a readout rather than the discount driver.
Rao recognized-revenue floor | 5 | $B | sworn_floors.recognized_revenue_floor_usd_b | court-sworn floor | Anchor below company-stated run-rate observations; not interchangeable with ARR.
Rao outside-capital floor | 60 | $B | sworn_floors.outside_capital_floor_usd_b | court-sworn floor | Capital raised is a financing-capacity anchor, not available liquidity by itself.
Rao compute-spend floor | 10 | $B | sworn_floors.compute_spend_floor_usd_b | court-sworn floor | Compute spend floor keeps the demand spine grounded below the run-rate story.
PJM surplus-hour share | 90.35% | % | stranded_energy.pjm_surplus_hour_share | surplus hours, Jan 1 to Jul 1, 2026 | Useful energy must still clear transfer, congestion, and site absorption.
ERCOT max negative-hour share | 23.66% | % | ercot_nodal.max_neg_share_hourly | full-coverage mapped resource nodes | Negative-hour upside finances only after a site proves it can absorb the node.
Retired-nuclear screen rows | 30 | rows | siting_screen.site_count | Zion leads the screen | The screen is a diligence queue, not a portfolio cap by itself.
Browser-live context
Feed | Pinned value | As of | Endpoint / series | Status in Excel | Model use
HY OAS | 2.72% | 2026-07-06 | BAMLH0A0HYM2 | Pinned fallback; browser route refreshes live when available | FOAK / credit-risk pressure around financing windows
BAA - 10Y | 1.54% | 2026-07-01 | BAA10Y | Pinned fallback; browser route refreshes live when available | Investment-grade spread pressure around long-duration obligations
DGS10 | 4.49% | 2026-07-02 | DGS10 | Pinned fallback; browser route refreshes live when available | Treasury-rate base for financing-cost context
Fuel tape | context feed |  | /api/live/fuel | BLS + Cameco refresh in browser | Updates fabrication and feed proxy legs while preserving pending conversion/SWU labels.
Financing tape | context feed |  | /api/live/fred?series=hy_oas,baa10y,dgs10 | FRED refresh in browser | Rates and spreads remain context unless the model explicitly consumes them.
FMP workspace | context feed |  | /api/fmp/[...path] | live market workspace, not pasted into Excel | Equity prices, estimates, transcripts, and peer multiples reprice the bottleneck around the model.
Workbook tie-outs
Tie-out | Workbook | LiveTape | Delta | Pass | Basis
Fuel fabrication composite tie-out |  |  |  |  | LiveTape fabrication value must match the Fuel sheet's indexed composite.
Recognized-revenue floor tie-out |  |  |  |  | Court-sworn floor must tie to the Anthropic revenue-basis bridge.

## Risk
Risk
Weighted exposures, priced into the discount rate.
Factors — stated judgments
Factor | Weight | Score 1-5 | Weighted | What it prices
Country and geopolitical | 20% | 3 |  | Supply-chain concentration and the China-India premium; tariff and export-control whiplash.
Regulatory and licensing | 15% | 4 |  | NRC design approval and inspection cadence; the July-2029 interconnection gate; red tape as the dominant schedule cost.
Tax-credit regime | 10% | 3 |  | ITC/PTC sunset and phase-down risk; the credit is contractually netted out of the PPA price, so its repeal lands on the buyer.
First-of-a-kind execution | 20% | 4 |  | No N-SMR has been deployed this way; output and COD confidence are the operator's own stated concern.
Civil labor market | 10% | 4 |  | Electricians and plumbers are the binding trade; the shortage forces mega-campus topology.
Community and environment | 5% | 2 |  | Payments in lieu of taxes settle community exposure upfront; thermal discharge burdens are real but priced.
Fab and lithography concentration | 10% | 3 |  | Logic and memory capacity choke at a handful of fabs and ultimately one lithographer.
Grid stability and firming | 10% | 3 |  | Synchronous training swings of hundreds of megawatts; firming costs and blackout exposure justify behind-the-meter supply.
Composite (0 = riskless, 1 = worst case)
Into the discount rate
Maximum risk premium at composite = 1 | 6%
Risk premium
Risk-adjusted discount rate |  |  |  | Base rate plus the composite premium; discounts the savings and risk-adjusts the structure comparison.
Country spreads, credit indices, and labor series can price this composite directly.
Priced composite v1 — Jun-2026 series
Composite, stated judgments
Composite, priced where a series exists (3 of 8 factors)
Delta, priced minus judgment
Each priced factor maps its latest print to a 1-5 score by percentile in its own 10y window (BAA10Y, HY OAS, ECI mfg). Backtested Jun-2026: the mapping is contrarian on both testable legs, so the stated judgments stand — and price risk above the market read. Five factors remain unpriced.

## Credit
Credit
How lenders price the deployment gap.
DDTL 4.0 term sheet, as filed
Committed facility ($M)
Floating spread over SOFR (%) |  | Fixed tranche about 5.9% per the same release.
LTV ceiling, IG counterparties (%) |  | Dec-2024 facility agreement.
LTV ceiling, non-IG step-down (%)
Collateral useful life (years) |  | Meta runs servers at 5.5 for context.
Coverage
RPO backlog over debt principal |  | Contracted-revenue cover.
Debt over FY2025 revenue
RPO growth, 2024 to 2025
Largest-customer share of 2024 revenue (%) |  | Concentration rides the covenant trigger.
Contracted-not-powered (MW) |  | The gap the structure prices.
Covenant headroom
Collateral fair value, assumed ($M) | 30000 | Undisclosed in filings; the lever to test.
Counterparty quality | IG
Applicable LTV ceiling
Maximum debt at ceiling ($M)
Headroom vs drawn principal ($M)
Demand backdrop ($M; mixed bases, not additive)
NVIDIA purchase commitments, FY2026
NVIDIA purchase commitments, FY2025
Alphabet capex, FY2025
Microsoft P&E additions, 9M FY2026
Commitment growth, NVIDIA y/y
Accounting treatment map
Instrument | Primary treatment | ASC / accounting test | Value status | Model view | Where it lands
Utility tariff floor / take-or-pay power | Minimum purchase commitment | ASC 440; ASC 842 test for dedicated switchyard or conveyance plant | Known only when tariff floor, term, and price are disclosed | GAAP / cash | Commitment schedule plus COD-gap carry; not added to residual power obligations
Dedicated direct PPA or BTM generation | ROU asset / lease liability when buyer controls an identified asset | ASC 842 first; ASC 815 when virtual or financial PPA | Unknown until physical, virtual, and dedicated-asset terms are known | GAAP / cash | Lease, derivative, or OpEx split; never double-count as energy OpEx
Water, emissions, CBA, and PILOT | Minimum commitment or contingent obligation | ASC 440 for unconditional floors; ASC 450 for trigger-based exposure | Sensitivity input when trigger dependent | cash / contingency | Commitment schedule or stress panel, depending on trigger certainty
Talen/AWS PPA minimum commitment | Take-or-pay test required; USD magnitude unknown | ASC 842 embedded-lease; ASC 815 derivative; ASC 440 disclosure candidate | Unknown: price undisclosed | reviewer view | Power/site obligations; the MW ramp is known but USD is not
CoreWeave RPO | Contracted revenue backlog; not liability | Covenant collateral context |  | management / covenant | Coverage numerator, not an obligation total
SPV capital stack and private-credit mechanics
Layer | Source / formula | Amount / status | Advance / covenant mechanic | Evidence | Treatment
Collateral pool | Collateral fair value | Unknown: fair value undisclosed | current LTV cannot be computed | FIN-coreweave-ltv_current | Do not assume compliance or headroom without collateral telemetry
Senior ABS/private-credit debt | CoreWeave DDTL 4.0 committed facility |  | SOFR + spread; LTV ceiling applies | CL-20260609-023 / CL-20260609-024 | Debt principal / committed facility view
TPU SPV debt comparator | Reported TPU SPV debt financing |  | Comparator only; do not import into Anthropic base case | CL-20260611-078 | Capital-formation precedent, secondhand source tier
Equity/sponsor contribution | Residual after advance rate | Unknown: sponsor equity undisclosed | Planning input, not a sourced fact | unknown | Required residual capital; not modeled as a base-case fact
Liquidity trough / cash sweep | Cash balance and flow schedule | Unknown: cash-flow schedule undisclosed | Stress-panel only until source support exists | LIQ-coreweave-trough | Do not synthesize cash troughs from debt principal alone

## MonteCarlo
Monte Carlo
400 live draws between Bear and Bull, plus COD slip, availability, and useful-life depreciation. F9 re-rolls.
Outcome distribution
Percentile | Margin ($/MTok) | DSCR | Blended FY2030 ($/MWh) | N-SMR FY2034 ($/MWh) | Shortfall dmg ($M/yr)
P5
P25
P50
P75
P95
Probability margin is underwater
Probability the N-SMR misses FY2034 entirely
Draws are joint and independent; correlated draws would widen the tails.
COD slip draw, maximum (months) | 36
Availability draw band (min / max) | 80% | 95%
Useful life draw band (min / base / max) | 3 | 5.5 | 8
Draws
Draw | Compression | Utilization | Power ($/MWh) | Margin ($/MTok) | DSCR | Blended FY2030 ($/MWh) | Delay (mo) | COD slip (mo) | Availability | N-SMR FY2034 ($/MWh) | Shortfall dmg ($M/yr) | Useful life (yrs) | Depreciation delta ($/MTok)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393
394
395
396
397
398
399
400

## Sensitivity
Sensitivity
Two-way grids and a one-driver tornado. Off-axis follows the active scenario.
Operating margin ($/MTok)
Utilization (%) → |  | 40% | 50% | 60% | 65% | 70% | 80% | 90%
Compression (%) ↓
10%
20%
30%
40%
50%
Liquidity trough ($/MTok)
Delay (months) → |  | 0 | 6 | 12 | 18 | 24
Compression (%) ↓
10%
20%
30%
40%
50%
Tornado — Bear to Bull, one driver at a time
Driver | At Bear | At Bull | Swing
Compression
Utilization
Power price
GPU index
Delay

## Checks
Checks
Independent derivations against separately known values. These hold at any scenario.
Reconciliation | This model | Independent | Pass | Basis
Fabrication composite: weighted BLS indices, two derivations |  | 1.0103 |  | This workbook's index formula vs an independently computed value.
N-SMR contract physics: implied capacity factor clears the availability floor |  | TRUE |  | 4,110,192 MWh per cycle must be deliverable above the 90% guarantee or the contract contradicts itself.
Queue conversion, two derivations |  | 8.378% |  | Workbook ratio over sourced rows vs an independently computed rate.
Carry at the settled rate, scenario-independent |  | 55.0408 |  | Blocked MW priced at the 2025 settled rate; computed from Sources directly, so the scenario switch cannot move it.
Margin at stated Base inputs, scenario-independent |  | 1.04 |  | Recomputed from the Base column directly, so flipping the scenario cannot break it.
Energy two ways: FY2030 cost over price reproduces the energy row |  | 0 |  | Power cost divided back by blended price must land on the energy row it came from.
Mix shares sum to one in every forecast year |  | TRUE |  | The policy bridge can sum to one, but actual dispatch still obeys finite deliverability caps.
Monte Carlo P50 margin sits inside the Bear-Bull deterministic envelope |  | TRUE |  | An independent sampling of the same model must center inside its own deterministic bounds.
RPO coverage, two derivations |  | 2.8082 |  | Workbook ratio over sourced values vs an independent derivation.
Blended cost is a convex combination of its source prices (FY2030) |  | TRUE |  | A share-weighted average that escapes its own bounds means a share or price reference is broken.
Two buyers price a gigawatt: stated constant vs bottom-up |  | 1.1667 |  | Katti's $70B/GW and Lochmiller's $60M/MW are independent estimates of one constant; first-order agreement validates it, and the residual is the cone, not noise.
Outage norm clears the availability guarantee |  | TRUE |  | The 35-day outage allowance (memo) and the 90% availability guarantee (term sheet) come from different documents; the contract coheres only if the first implies the second.
Change-of-law waterfall conserves the loss |  | 0 |  | Buyer tier, seller tier, and the shared remainder must reassemble the stress loss exactly, at any tier setting.
Allocation leaves a positive serving residual |  | TRUE |  | Training floor plus internal share must leave room for customers; a negative residual means the floors contradict the demand chain.
Second demand engine reproduces the FY2026 anchor |  | 0 |  | Wiring assertion, not an independent reconciliation: the calibration makes this an identity; it breaks only if a reference breaks.
Elasticity bridge preserves FY2026 anchor and moves FY2030 load |  | TRUE |  | Tokens-per-task drift and elasticity must equal 1.0 at the FY2026 anchor, then increase post-anchor token volume and load relative to the revenue-only path.
Accounting map keeps incompatible obligations separate |  | TRUE |  | Lease, purchase-commitment, derivative, contingency, contracted-revenue, and SPV unknown rows must remain typed separately, not summed into one obligations number.
Regret vanishes when the buy matches the future |  | TRUE |  | Buying for the future that arrives must cost nothing; a nonzero diagonal means a plan or world reference is broken.
Historical stress storyboard preserves capacity timing and the capex bridge caveat |  | TRUE |  | The historical stress storyboards must carry the bridge caveat and tie the pipeline row to powered-capacity timing.
Envelope grossing reproduces serving energy (FY2030) |  | 0 |  | Wiring assertion, not an independent reconciliation: divides back what was multiplied; it breaks only if a reference breaks.
MC P50 N-SMR price sits inside its deterministic bounds |  | TRUE |  | Sampling the contract under COD slip must land between a missed year (zero) and the no-slip delivered price.
Portfolio allocation respects every cap, every year |  | TRUE |  | An optimizer that allocates beyond a source's deliverable capacity is answering a different question.
Merit order never loses to all-residual, any year |  | TRUE |  | All-residual is the capped fallback price comparison; the optimum should not cost more than that served-power comparator.
Portfolio served plus unmet demand reconciles to demand, every year |  | TRUE |  | Demand above finite deliverable capacity must appear as unmet demand, not disappear into a residual bucket.
Mature-cohort conversion bounds the all-vintage scalar |  | TRUE |  | The 8.4% scalar includes right-censored 2019+ cohorts, so the decided 2015 cohort (24.5%) must sit above it.
Scenario revenue scale clears the sworn revenue floor |  | TRUE |  | Sworn cumulative revenue 'exceeding $5 billion to date' (Dkt 6-5 ¶8) caps the base case from below.
A28 revenue-basis labels distinguish run-rate from recognized revenue |  | TRUE |  | The demand cone may use company-stated run-rate inputs, but no Anthropic revenue label should read as bare recognized revenue.
Time-to-compute score differs from cost-only ranking |  | TRUE |  | Cloud can score higher on time-to-compute while carrying a higher power price; the deal score keeps delivery timing separate from cost-only ranking.
Stranded-price assumption sits above the measured spot floor |  | TRUE |  | The $35 stranded assumption must clear the measured ERCOT West cheapest-quintile mean ($1.83 in 2025) — its own raw input.
Contract all-in sits inside the sourced cost-basis range |  | TRUE |  | The ~$101 contract price must be reachable from sourced nuclear cost economics (ATB Advanced low to Vogtle-implied high); a price outside the range would mean the contract and the cost curves describe different assets.
Priced composite, two derivations |  | 0.48 |  | Recomputed from weights and frozen scores; 0.48 derived independently from the series percentiles.
LiveTape fuel composite ties to the Fuel sheet |  | 0 |  | The Excel snapshot must carry the same fabrication composite as the browser-live constraint tape fallback.
LiveTape recognized-revenue floor ties to the Anthropic bridge |  | 0 |  | The court-sworn revenue floor should be identical in the live tape and the run-rate/recognized-revenue bridge.
LiveTape preserves the pending fuel-leg warning |  | TRUE |  | The workbook must not imply a complete fuel escalator while conversion and SWU remain pending.
WO-05 demand scope stays below top-3 lab aggregate cap |  | TRUE |  | FY2040 demand 83.1086 GW / top-3 lab aggregate 154.1086 GW = 53.93%; cap = 60%.

## Design
DESIGN SYSTEM
Anthropic clay on cream — the palette, type, and structural conventions behind this workbook, specified for reuse across Microsoft 365.
12-Color Theme ¦ Söhne Type System ¦ Cell Styles ¦ Extended Palette ¦ Data Ramps ¦ Conventions
Maintained by Darrell Day · Generated by the workbook engine — edit src/workbook/design.py, not this sheet
01 — THEME PALETTE · 12 SLOTS
Maps 1:1 onto Excel's Customize Colors dialog — register once, reuse in every Office document.
Theme slot | Name | Hex |  | Role in the system
Text/Background Dark 1 | Ink | #141413 |  | Primary text. RESERVED as a fill — only for darker banding on top of an already dark surface (see Cover!C17).
Text/Background Light 1 | Cream | #FAF9F5 |  | Default canvas for every sheet; text on dark surfaces.
Text/Background Dark 2 | Slate Char | #3D3D3A |  | Working dark: title cards, section bands, secondary text, strong rules.
Text/Background Light 2 | Oatmilk | #E8E6DC |  | Chart cards and grouped panels — one step warmer than the canvas.
Accent 1 | Deep Clay | #C6613F |  | Max-value bars, alerts, negatives, the hot end of every ramp.
Accent 2 | Anthropic Clay | #D97757 |  | The signature. Chart titles, primary series, brand moments.
Accent 3 | Salmon | #EB8360 |  | Warm-ramp midpoint; subtitles and highlights on dark cards.
Accent 4 | Oat | #F3E2C4 |  | Input-cell shading; light end of the warm ramp; key figures on dark cards.
Accent 5 | Olive | #788C5D |  | Cross-sheet links; the “good” state; cool-ramp second stop.
Accent 6 | Cactus | #BCD1CA |  | Light analysis tabs; cool-ramp third stop; soft positive shading.
Hyperlink | Deep Blue | #1C63AF |  | Hyperlinks, hard-coded inputs, chart contrast series, diverging cold pole.
Followed Hyperlink | Fig | #C46686 |  | Followed links; reserve series color when six accents run out.
Register once: Page Layout → Themes → Colors → Customize Colors… → fill the ten slots + two link colors in the order above → name it “Anthropic Clay” → Save.
The saved palette appears in Word (Design → Colors) and PowerPoint (Design → Variants → Colors) on this machine; export a full .thmx from PowerPoint to share colors + fonts together.
02 — TYPE SYSTEM · SÖHNE
Font theme: Page Layout → Fonts → Customize Fonts… → Heading: Söhne Kräftig, Body: Söhne → name it “Anthropic Söhne”. The theme holds only two slots — Mono and Kursiv are applied per the table below.
Role | Cut | Size |  | Specimen — set in its own style
Display / cover title | Söhne Leicht | 22–30 |  | C O M P U T E C A P I T A L S T A C K
Display numerals / hero figures | Söhne Leicht | 13–20 |  | $108.6B · 8.4% · 2,250 MW
Section band | Söhne Kräftig | 9 |  | DELIVERABILITY TURNS MEGAWATTS INTO CAPACITY
Sheet title (row 2) | Söhne Fett | 16 |  | Sensitivity — 16pt, thin Ink rule under row 2, italic indented subtitle beneath the rule
Key figures on dark cards | Söhne Halbfett | 10–14 |  | $3.95 /MTok
Body / row label | Söhne | 9–10 |  | Realized queue conversion, ERCOT approved-to-energize
Figures / data | Söhne Mono | 9–10 |  | $3.95 /MTok · 8.4% · 2,250 MW
Key figures / emphasis | Söhne Mono Kräftig | 9–10 |  | $108.6B NPV
Annotation / commentary | Söhne Kursiv (italic) | 8 |  | Cloud is cheapest to start; the mix pays as merchant power escalates.
Footnote / metadata | Söhne | 8 |  | Sources: cell-level citations on the Sources tab.
Söhne is licensed (Klim Type Foundry) — it must be installed locally; documents shared outside the team fall back to the viewer's default sans.
03 — CELL STYLES · REPLACE THE M365 DEFAULTS
Each example cell below is formatted as its own spec — register via Home → Cell Styles, or pull the full set into new files via Merge Styles…
Style | Replaces (M365) | Example |  | Specification
Normal | Normal | Body text |  | Söhne 9 · Ink #141413 · on Cream canvas · zeros as “–”, negatives in parentheses
Title | Title | TITLE |  | Söhne Fett 22–30 · Cream on Char #282826 card · cover/title cards only
Heading 1 | Heading 1 | SECTION |  | Söhne Kräftig 9 · Cream on Slate Char band · thin Ink rule above, THICK Ink rule below · vertically centered, 17pt row — bands read quiet next to the 16pt sheet title
Heading 2 | Heading 2 | Subhead |  | Söhne Kräftig 11 · Ink · thin rule below in Slate Char
Heading 3 | Heading 3 | FY2030E |  | Söhne 8–9 · Slate Char · thin rule below in Stone · column headers, years as text
Input | Input | 0.155 |  | Söhne Mono 9 · Deep Blue on Oat · the only cells a reader should ever type into
Calculation | Calculation |  |  | Söhne Mono 9 · Ink #141413 · no fill. Every derived figure. Never overwrite with a constant.
Linked Cell | Linked Cell |  |  | Söhne Mono 9 · Olive Ink #5C6B47 · no fill. Values pulled from another tab in this workbook.
Total | Total | $108.6B |  | Söhne Mono Kräftig 9 · Ink #141413 · thin top rule #141413. Headline figures and column totals.
Note | Note | Annotation |  | Söhne Kursiv 8 · Slate Char #3D3D3A · optional Ivory #F0EEE6 fill. Caveats, methods, editorial asides.
Good | Good | PASS |  | Söhne Mono 9 · Olive Ink #5C6B47. Checks that pass, healthy covenants, favorable deltas.
Bad | Bad | BREACH |  | Söhne Mono 9 · Clay Ink #A24F33 · optional Blush #EBC7C7 fill. Failed checks, negatives, alerts.
Neutral | Neutral | n/a |  | Söhne Mono 9 · Stone Ink #6B6B63. Immaterial, suppressed, or not-applicable values.
Styles are workbook-scoped: this file regenerates them from src/workbook/design.py — the module is the master, this sheet is the rendered spec.
04 — EXTENDED PALETTE · OFF-THEME, DO NOT LOSE
The Office theme caps at 12 slots. These working colors live only in this registry — they will NOT travel with the saved theme. Copy hexes from here.
Name | Hex | Swatch |  | Role
Amber | #FAB85B |  |  | Chart series when the six accents run out; the example graph's hero bar.
Mint | #ADD6C8 |  |  | Secondary cool series; softer alternative to Cactus in dense charts.
Stone | #B6B6AB |  |  | Muted labels on dark cards, light table rules, neutral/suppressed figures.
Blush | #EBC7C7 |  |  | Soft negative shading — alert fills behind Bad text, light end of risk scales.
Ivory | #F0EEE6 |  |  | Panel headers, diverging-ramp midpoint, note fills — the quiet layer between Cream and Oatmilk.
Dark Olive | #56673F |  |  | Tab strip only: Olive #788C5D sits on Excel's tab-text threshold and renders black; this depth guarantees white.
Char | #282826 |  |  | Title cards ONLY — the gravitas layer between Ink and Slate Char. Ink stays reserved for banding on top of it.
Stone Dark | #76766F |  |  | Monotone tab tier for operating-detail sheets; mid step between Slate Char and Stone.
05 — DATA RAMPS & HEAT MAPS
Warm sequential | #C6613F | #D97757 | #EB8360 | #F3E2C4
Cool / secondary | #1C63AF | #788C5D | #BCD1CA | #F0EEE6
Diverging | #C6613F | #F0EEE6 | #1C63AF
Heat maps: two-sided tables (sensitivities, deltas vs base) take the diverging ramp Deep Clay → Ivory → Mint (#C6613F → #F0EEE6 → #ADD6C8); swap Mint for Deep Blue when the positive side needs more weight. One-sided intensity matrices take the warm sequential ramp, Cream → Oat → Deep Clay. Hairline Cream separators inside grids; never rainbow scales.
Charts: titles in REGULAR Söhne 11 Deep Clay — never bold/Kräftig. Line series label the terminal point only; single-series bars take the warm sequential by value rank. Series order — lines: Deep Clay → Deep Blue → Olive → Amber; stacks: Oat → Salmon → Anthropic Clay → Deep Clay. Chart background fill #E8E6E9 (owner update); axis text Slate Char; gridlines Oatmilk; 4–7 major-unit intervals, locked.
06 — STRUCTURAL CONVENTIONS
1. Canvas: every sheet painted Cream #FAF9F5, gridlines OFF. Content starts at B2; column A stays empty as a narrow gutter.
2. Dark surfaces, three depths: Slate Char #3D3D3A is the working dark (heading bands); Char #282826 is reserved for title cards; Ink #141413 is reserved for banding that must pop on an already-dark surface (see the Cover card header) — and for text.
3. Cover card: full-bleed Char #282826 block — 30pt spaced Söhne Leicht display title, pipe-separated scope line, metadata stack, live =TEXT() headline stats, source note, Ink band for the computed block.
4. Title rows: B2 in Söhne Fett 16 Ink, a thin Ink rule on the BOTTOM of row 2 across the content width, subtitle in italic Söhne 9 Slate Char, indented one level, underneath the rule. Sharp weight and size contrast against 9pt bands is the hierarchy; hero numerals answer in Söhne Leicht.
5. Heading bands: Söhne Kräftig 9 Cream on Slate Char, vertically centered in a 17pt row, thin Ink rule on top + THICK Ink rule below. Bands are wayfinding, not headlines — they stay quiet.
6. Tabs: monotone tiers with varied hue — Ink/Char bookends (Cover, Design); Slate Char for the core engines; Stone Dark #76766F for operating detail; Stone for registries & QA. Accent pops ONLY where analysis becomes recommendation: Summary and Portfolio Deep Clay, Assumptions Deep Blue, and the analysis cluster graded along the warm ramp (Risk Oat → Credit Salmon → MonteCarlo Anthropic Clay → Sensitivity Deep Clay).
7. ZERO merged cells, ever. A merged-cell effect = select the span, format the lead cell Horizontal alignment: Center Across Selection. Merges break sorting, fills, and structured selection.
8. Label/value spacing: never widen a label column to push values right. Keep columns normal width, place the value a few columns over, and let the label bleed invisibly across the empty cells between.
9. Long sheets freeze label column + header rows. Year/period headers live on Ivory #F0EEE6 strips.
10. Numbers: zeros render as “-”, negatives in parentheses, units declared in headers (“$mm”, “GW”, “$/MTok”), years stored as text, multiples as 0.0x.
11. Every assumption sits in a labeled Input cell referenced by formula — no magic numbers inside formulas; external figures carry cell-level source citations on Sources.
12. Charts: regular-weight titles, terminal-point labels on lines, value-ranked warm ramp on single-series bars, legends below the plot — never overlapping it.
13. Negative space is a feature: one blank row between blocks, thin #B6B6AB rules instead of boxes, no borders around whole tables.
This sheet is generated from src/workbook/design.py (ported from dday's styled copy, 2026-06-12). When the system changes, change the module.